# See Logitech sensor data around Offision

Every place a synced Logitech device's readings surface — the device, its space, the history chart, device monitoring, the booking calendar and signage — and why this connection has no device controls at all.

2026-09-14   ·   https://offision.com/help/en/integrations/see-logitech-sensor-data/

Once a Logitech device is synced, its readings stop belonging to the device.
They land on the space it sits in, roll up to the room and floor, and surface
from there — each place answering a different question.

Where in Offision: admin app → device/platform-integration (Platform integration)

## On the device — is it healthy right now

The device's own page shows the live picture: online state, serial number, when
it last reported, and a Sensor data tile per reading. This is the page for
this sensor is behaving strangely; everything below is about the room.

Only a Spot or a Rally Board 65 has this page. For a Rally Bar, a Tap or
a Tap Scheduler the Status entry is simply absent from the rail, because the
product reports no readings to show.

## On the space — what the room is reporting

Open Spaces in the same dialog and pick one — the same rooms also have a page
of their own under Room Control › Spaces. A space shows the latest
readings for the room as a whole, Devices in this space, and the row that
decides everything downstream: which bookable resource it feeds.

This is also the page that always has a People count and a State, even
when the only device in the room is an air sensor. The count comes from the room
in Logitech, not from any device — so look here for a headcount, never at a
device page.

Unlinked data goes nowhere:
A space showing Not linked to a room still collects readings, but nothing
downstream sees them — no calendar, no panel, no board. If a room's data seems
to have vanished from everywhere at once, check this row first.

## Back in time — View history

Every sensor-data section carries View history, which opens the same chart
wherever you start from: pick a reading, pick a range, and see how it moved. This
is where a stuffy afternoon meeting room stops being an anecdote and becomes a
CO2 curve that peaks at the same hour every day.

## Across the estate — Device monitoring

Devices › Device monitoring lists Logitech devices alongside every other
device family. This is the page for the morning sweep — is anything offline
anywhere — rather than for one room's story.

Where in Offision: admin app → device/monitoring (Device monitoring)

## On the booking calendar — how the room was used

This is what linking a space to a bookable resource is for. On the booking
calendar, a finished meeting's pop-up grows a usage summary: actual usage against
the booked slot, the peak number of people against the room's capacity, and a
people-over-time curve — the difference between a booked room and a used one,
measured rather than argued.

Where in Offision: admin app → booking/calendar (Management calendar)

That summary is a record, not an automation. A booking policy that checks a
meeting in or releases an empty room reads the device bound to the resource,
so it works from a Spot or a Rally Board 65 and from nothing else — the
room's own people count feeds the summary and the reports, never the check-in.

## On signage

A board can carry the readings live — the info bar's people count and
air-quality chips, and the environment and occupancy widgets. The board reads the
floor and room its screen is bound to, so a linked Logitech room's numbers appear
on whatever screen stands there. Setting the bar up is a signage article:
The Info bar widget.

Air chips need a room with an air sensor behind them. A room whose only Logitech
hardware is a Rally Bar can show people and occupancy, but never temperature or
CO2 — there is nothing in the room measuring them.

## The controls Offision does not have

Every other room-hardware connection in Offision offers at least a reboot.
Logitech Sync offers none, and this is a property of Logitech's API rather than
a setting somewhere: it is read-only, so there is no Controls page on a
Logitech device, no resync, and no scheduled overnight reboot.

Anything that changes the device — renaming it, restarting it, updating it — is
done in Logitech Sync. Open in Logitech Sync, on the device's page, is the
shortest way there, and it lands on that exact device.

A rename in Logitech changes what Offision shows:
Because the product family is read from the device's name, renaming a device in
Logitech Sync can add or remove its air tiles at the next sync. Keep the product
word in the name — see
What Logitech Sync brings into Offision.