# The Occupancy sensor data - Map widget

[Map family: shared] A live floor plan coloured by what the occupancy sensors see — occupied in red, free in blue — with a floor rail for switching. Which floors and resource types it draws, and the view it opens on.

2026-10-03   ·   https://offision.com/help/en/signage/occupancy-sensor-map/

Map family: shared

The floor plan, live: every room and desk with an occupancy sensor is drawn
red where the sensor sees somebody and blue where it sees nobody, with a
legend in the corner and the building's floors listed down the side. It is
the "where is there space" screen for a lift lobby or an open floor, and it
only fits the main stage.

Can go on: Main stage

The widget can read Map 2.0 or Classic for each selected floor. Keep sensor/resource assignments in the family being shown; the preview below illustrates Classic. Occupancy describes what a connected sensor reports, not whether a booking exists.

## Settings

| Setting | What it does | When to change it |
| --- | --- | --- |
| Location | Which floors it draws: Follow device location, or Choose… with a floor picker | Leave it following the device; choose floors when one screen should carry a whole building |
| Type | Narrows the plan to resource types; empty means Any resource type | The screen is about desks, and rooms would only add noise |
| Default view angle | The framing the map opens on — Default, or a Custom view you frame yourself | The interesting corner of the plan is off-centre, or the whole floor is too much at once |
| Use floor plan default colors | Paints the plan's own area colours underneath the live status | Turn it off when the plan's decoration fights the red and blue |

Where the widget covers several floors, the rail along the edge switches
between them — one tap on a touch screen.

## What this does not control

- What the sensors report. The data is the occupancy sensors', connected
and placed in the Devices section — a desk with no sensor has nothing to
say, whatever this widget is set to.

- The plan it draws. The floor plan belongs to the floor itself; this
widget only colours it.

- The design's widget background. The map ignores it, along with the rest
of the panel styling — the shared settings are in
Widgets and the places they go.